# Diesel Meister Fuel Dispensing Catalogue

DIESEL-MEISTER by STT Engineering Solutions

Commercial fuel dispensing equipment and accessories

For fleet yards, farms, construction sites and industrial facilities. Diesel-Meister by STT Engineering Solutions offers a fuel dispensing enquiry range, with equipment selection and final configurations confirmed on quotation.

DRIVING INDUSTRY FORWARD

info@stteng.co.zawww.stteng.co.za7 Lathe Street, Isando, GautengWhatsApp and landline numbers to be advised

# Equipment selection

Select equipment to suit the fuel, site conditions and required delivery rate. Availability, supplier arrangements and any required certification are confirmed for the quoted equipment.

# Fuel dispensing range

Choose equipment around the required filling rate, fuel type, available power and level of transaction control. The range below provides a starting point for an STT quotation.

| Equipment category | Typical enquiry | Selection details |
| --- | --- | --- |
| Mechanical dispensers | Fleet and site refuelling | 60 L/min and 80 L/min categories; one hose and one product |
| Electronic retail dispensers | Metered dispensing with electronic displays | Confirm model, hose count, products and control system |
| Transfer pumps and kits | Mobile or fixed tank transfer | Specify power supply, flow, suction conditions and fuel |
| Fuel management systems | Authorised users and transaction records | Confirm dispenser interface and reporting requirements |
| Nozzles and flowmeters | Fuel delivery and volume measurement | Match fuel, flow rate, inlet thread and meter range |
| Hoses and accessories | Complete the dispensing assembly | Specify length, diameter, connections and installation |

# Electronic dispensers and transfer equipment

Electronic dispensers and transfer kits are selected to suit the application. Specify the fuel, available power, delivery rate and transaction control requirements so STT can confirm a suitable configuration.

# Complete the installation

A dispensing assembly may include a pump, meter, compatible filter, fuel hose, nozzle and isolation fittings. Fuel management, breakaways and hose reels depend on the chosen equipment and site requirements. Confirm the included items on the quotation.

# Mechanical fuel dispenser

The stainless steel enclosure and mechanical register provide a starting point for commercial refuelling enquiries.

| Parameter | Published reference |
| --- | --- |
| Configuration | 1 hose and 1 product |
| Flow rate | 80–85 L/min |
| Measurement accuracy | ±0.3% as published by EHAD |
| Body material | Stainless steel 304 |
| Power supply | AC 220 V, −15% to +10%; 50/60 Hz ±1 Hz |
| Communication | None listed |
| Package dimensions | 450 × 450 × 1320 mm |
| Gross weight | 130 kg |

Package dimensions describe shipping packaging, not an installation envelope. Obtain the equipment drawing before positioning the unit.

# Mechanical dispenser options

A 60 L/min mechanical dispenser option can be specified on enquiry. Confirm the model, operating conditions and supplied accessories on the quotation.

# Details to confirm before ordering

Confirm approved fuel, actual delivery rate at the site, inlet and outlet connections, hose and nozzle specification, power connection and installation dimensions. Operating temperature limits and totalizer capacity must be confirmed for the selected model.

# Accessories and quotation enquiries

Select each accessory to match the approved fuel and the operating flow and pressure of the complete system. Connection sizes and thread types must be confirmed together.

| Accessory | Information required for selection |
| --- | --- |
| Automatic or manual nozzle | Fuel, delivery rate, spout size and inlet connection |
| Mechanical or digital flowmeter | Flow range, accuracy requirement and connections |
| Fuel hose and reel | Fuel compatibility, bore, length, pressure and fittings |
| Filter assembly | Fuel type, rated flow, element and water separation needs |
| Breakaway and swivel | Flow rating, connection size and dispenser compatibility |
| Fuel management equipment | Users, vehicles, authorisation and reporting requirements |

# Send us your requirements

Tell us the fuel type, tank arrangement, required litres per minute, approximate daily volume and available power. Include suction height, pipe length, hose reach, number of dispensing points and whether you need user identification or transaction reports.

For a replacement, send the existing model, nameplate photograph, connection sizes and installation photographs. We will use these details to prepare the equipment specification and quotation.

# Contact STT Engineering Solutions

Diesel-Meister fuel dispensing enquiriesinfo@stteng.co.zawww.stteng.co.za7 Lathe Street, Isando, GautengWhatsApp and landline numbers to be advised